## Initial Solution
Template for BIWS solutions presentation
Network operation in the initial situation
TIME CONTROL ACTIONS |  |  | ACTIONS BASED ON SIMPLE CONTROLS
Element | Action | Time | Element (link) | Action | Control Node | Control Switch
V_G1 | CLOSED | 1:00 | B1 | CLOSED | N1 | ABOVE 5
V_G2 | CLOSED | 7:00 | B1 | OPEN | N2 | BELOW 2
V_G3 | CLOSED | 8:00 | B2 | 0.97 | N1 | ABOVE 2
V_G1 | OPEN | 3:00
V_G2 | OPEN | 10:00
V_G3 | OPEN | 11:00
V_3 | 25 | 12:00
(add as many rows you need) |  |  | (add as many rows you need)

## Investment Y1
Template for BIWS solutions presentation
Investments Year 1
DETECTING AND REPAIRING LEAKAGES |  |  | REPLACING PIPES |  | INSTALL NEW VALVES | [5 empty] | INCREASE CAPACITY OF TANKS |  |  |  |  | REPLACE EXISTING PUMP |  |  | FREQUENCY INVERTER
Line | Leakage | Cost | Line | Cost | Id Valve | Initial Node | End Node | Pipe Installed | Type | Cost | Id Tank | Vol Added (m3) | New Diameter (m) | New Initial Level (m) | Cost | Id Pump | New Model | Cost | Id Pump | Cost

## Actions Y1
Template for BIWS solutions presentation
Network operation - Year 1
TIME CONTROL ACTIONS |  |  | ACTIONS BASED ON SIMPLE CONTROLS
Element | Action | Time | Element (link) | Action | Control Node | Control Switch
V_G1 | CLOSED | 1:00 | B1 | CLOSED | N1 | ABOVE 5
V_G2 | CLOSED | 7:00 | B1 | OPEN | N2 | BELOW 2
V_G3 | CLOSED | 8:00 | B2 | 0.97 | N1 | ABOVE 2
V_G1 | OPEN | 3:00
V_G2 | OPEN | 10:00
V_G3 | OPEN | 11:00
V_3 | 25 | 12:00
(add as many rows you need) |  |  | (add as many rows you need)

## Investment Y2
Template for BIWS solutions presentation
Investments Year 2
DETECTING AND REPAIRING LEAKAGES |  |  | REPLACING PIPES |  | INSTALL NEW VALVES | [5 empty] | INCREASE CAPACITY OF TANKS |  |  |  |  | REPLACE EXISTING PUMP |  |  | FREQUENCY INVERTER
Line | Leakage | Cost | Line | Cost | Id Valve | Initial Node | End Node | Pipe Installed | Type | Cost | Id Tank | Vol Added (m3) | New Diameter (m) | New Initial Level (m) | Cost | Id Pump | New Model | Cost | Id Pump | Cost

## Actions Y2
Template for BIWS solutions presentation
Network operation - Year 2
TIME CONTROL ACTIONS |  |  | ACTIONS BASED ON SIMPLE CONTROLS
Element | Action | Time | Element (link) | Action | Control Node | Control Switch
V_G1 | CLOSED | 1:00 | B1 | CLOSED | N1 | ABOVE 5
V_G2 | CLOSED | 7:00 | B1 | OPEN | N2 | BELOW 2
V_G3 | CLOSED | 8:00 | B2 | 0.97 | N1 | ABOVE 2
V_G1 | OPEN | 3:00
V_G2 | OPEN | 10:00
V_G3 | OPEN | 11:00
V_3 | 25 | 12:00
(add as many rows you need) |  |  | (add as many rows you need)

## Investment Y3
Template for BIWS solutions presentation
Investments Year 3
DETECTING AND REPAIRING LEAKAGES |  |  | REPLACING PIPES |  | INSTALL NEW VALVES | [5 empty] | INCREASE CAPACITY OF TANKS |  |  |  |  | REPLACE EXISTING PUMP |  |  | FREQUENCY INVERTER
Line | Leakage | Cost | Line | Cost | Id Valve | Initial Node | End Node | Pipe Installed | Type | Cost | Id Tank | Vol Added (m3) | New Diameter (m) | New Initial Level (m) | Cost | Id Pump | New Model | Cost | Id Pump | Cost

## Actions Y3
Template for BIWS solutions presentation
Network operation - Year 3
TIME CONTROL ACTIONS |  |  | ACTIONS BASED ON SIMPLE CONTROLS
Element | Action | Time | Element (link) | Action | Control Node | Control Switch
V_G1 | CLOSED | 1:00 | B1 | CLOSED | N1 | ABOVE 5
V_G2 | CLOSED | 7:00 | B1 | OPEN | N2 | BELOW 2
V_G3 | CLOSED | 8:00 | B2 | 0.97 | N1 | ABOVE 2
V_G1 | OPEN | 3:00
V_G2 | OPEN | 10:00
V_G3 | OPEN | 11:00
V_3 | 25 | 12:00
(add as many rows you need) |  |  | (add as many rows you need)

## Investment Y4
Template for BIWS solutions presentation
Investments Year 4
DETECTING AND REPAIRING LEAKAGES |  |  | REPLACING PIPES |  | INSTALL NEW VALVES | [5 empty] | INCREASE CAPACITY OF TANKS |  |  |  |  | REPLACE EXISTING PUMP |  |  | FREQUENCY INVERTER
Line | Leakage | Cost | Line | Cost | Id Valve | Initial Node | End Node | Pipe Installed | Type | Cost | Id Tank | Vol Added (m3) | New Diameter (m) | New Initial Level (m) | Cost | Id Pump | New Model | Cost | Id Pump | Cost

## Actions Y4
Template for BIWS solutions presentation
Network operation - Year 4
TIME CONTROL ACTIONS |  |  | ACTIONS BASED ON SIMPLE CONTROLS
Element | Action | Time | Element (link) | Action | Control Node | Control Switch
V_G1 | CLOSED | 1:00 | B1 | CLOSED | N1 | ABOVE 5
V_G2 | CLOSED | 7:00 | B1 | OPEN | N2 | BELOW 2
V_G3 | CLOSED | 8:00 | B2 | 0.97 | N1 | ABOVE 2
V_G1 | OPEN | 3:00
V_G2 | OPEN | 10:00
V_G3 | OPEN | 11:00
V_3 | 25 | 12:00
(add as many rows you need) |  |  | (add as many rows you need)

## Investment Y5
Template for BIWS solutions presentation
Investments Year 5
DETECTING AND REPAIRING LEAKAGES |  |  | REPLACING PIPES |  | INSTALL NEW VALVES | [5 empty] | INCREASE CAPACITY OF TANKS |  |  |  |  | REPLACE EXISTING PUMP |  |  | FREQUENCY INVERTER
Line | Leakage | Cost | Line | Cost | Id Valve | Initial Node | End Node | Pipe Installed | Type | Cost | Id Tank | Vol Added (m3) | New Diameter (m) | New Initial Level (m) | Cost | Id Pump | New Model | Cost | Id Pump | Cost

## Actions Y5
Template for BIWS solutions presentation
Network operation - Year 5
TIME CONTROL ACTIONS |  |  | ACTIONS BASED ON SIMPLE CONTROLS
Element | Action | Time | Element (link) | Action | Control Node | Control Switch
V_G1 | CLOSED | 1:00 | B1 | CLOSED | N1 | ABOVE 5
V_G2 | CLOSED | 7:00 | B1 | OPEN | N2 | BELOW 2
V_G3 | CLOSED | 8:00 | B2 | 0.97 | N1 | ABOVE 2
V_G1 | OPEN | 3:00
V_G2 | OPEN | 10:00
V_G3 | OPEN | 11:00
V_3 | 25 | 12:00
(add as many rows you need) |  |  | (add as many rows you need)